## Sheet1
Esca60 File | Powergrid Mapping
ANALOG_NORMALVALUE |  | Substation.name
ANALOG_POSITIVEFLOWIN |  | VoltageLevel.Basevoltage.nominalVoltage
ANALOGLIMIT_LIMITSET |  | Not APP
ANALOGLIMIT_VALUE |  | EquivelantShunt.g
ANALOGLIMITSET_MEASUREMENTS |  | EquivelantShunt.b
BASEVOLTAGE_NOMINALVOLTAGE |  | Region
BASICINTERVALSCHEDULE_STARTTIME |  | SubGeoRegion
BREAKER_RATEDCURRENT |  | svVoltage.v
CONDUCTINGEQUIPMENT_BASEVOLTAGE |  | svVoltage.angle
CONDUCTOR_B0CH
CONDUCTOR_BCH
CONDUCTOR_GCH
CONDUCTOR_LENGTH
CONDUCTOR_R
CONDUCTOR_R0
CONDUCTOR_X
CONDUCTOR_X0
CONFORMLOAD_LOADGROUP
CONNECTIVITYNODE_MEMBEROF_EQUIPMENTCONTAINER
CURVE_CURVESTYLE
CURVEDATA_CURVESCHEDULE
CURVEDATA_XVALUE
CURVEDATA_Y1VALUE
CURVEDATA_Y2VALUE
ENERGYCONSUMER_PFEXP
ENERGYCONSUMER_PVEXP
ENERGYCONSUMER_PFIXED
ENERGYCONSUMER_PFIXEDPCT
ENERGYCONSUMER_QFEXP
ENERGYCONSUMER_QVEXP
ENERGYCONSUMER_QFIXED
ENERGYCONSUMER_QFIXEDPCT
EQUIPMENT_MEMBEROF_EQUIPMENTCONTAINER
GENERATINGUNIT_LONGPF
GENERATINGUNIT_MAXECONOMICP
GENERATINGUNIT_MAXOPERATINGP
GENERATINGUNIT_MINECONOMICP
GENERATINGUNIT_MINOPERATINGP
GENERATINGUNIT_NORMALPF
GENERATINGUNIT_RATEDGROSSMAXP
GENERATINGUNIT_RATEDGROSSMINP
GENERATINGUNIT_RATEDNETMAXP
GENERATINGUNIT_SHORTPF
GROSSTONETACTIVEPOWERCURVE_GENERATINGUNIT
IEC61970CIMVERSION_DATE
IEC61970CIMVERSION_VERSION
IDENTIFIEDOBJECT_ALIASNAME
IDENTIFIEDOBJECT_DESCRIPTION
IDENTIFIEDOBJECT_NAME
IDENTIFIEDOBJECT_PATHNAME
LIMITSET_ISPERCENTAGELIMITS
LINE_REGION
LOADGROUP_SUBLOADAREA
MEASUREMENT_MEASUREMENTTYPE
MEASUREMENT_MEMBEROF_PSR
MEASUREMENT_TERMINAL
POWERTRANSFORMER_TRANSFORMERTYPE
REGULARTIMEPOINT_INTERVALSCHEDULE
REGULARTIMEPOINT_VALUE1
REGULARTIMEPOINT_VALUE2
REGULATINGCONDEQ_REGULATIONSCHEDULE
SERIESCOMPENSATOR_R
SERIESCOMPENSATOR_X
SHUNTCOMPENSATOR_MAXIMUMSECTIONS
SHUNTCOMPENSATOR_NOMU
SHUNTCOMPENSATOR_NORMALSECTIONS
SHUNTCOMPENSATOR_REACTIVEPERSECTION
STATICVARCOMPENSATOR_CAPACITIVERATING
STATICVARCOMPENSATOR_INDUCTIVERATING
STATICVARCOMPENSATOR_SVCCONTROLMODE
STATICVARCOMPENSATOR_SLOPE
STATICVARCOMPENSATOR_VOLTAGESETPOINT
SUBGEOGRAPHICALREGION_REGION
SUBSTATION_REGION
SWITCH_NORMALOPEN
SYNCHRONOUSMACHINE_INITIALREACTIVECAPABILITYCURVE
SYNCHRONOUSMACHINE_MEMBEROF_GENERATINGUNIT
SYNCHRONOUSMACHINE_MAXQ
SYNCHRONOUSMACHINE_MINQ
SYNCHRONOUSMACHINE_RATEDS
SYNCHRONOUSMACHINE_REFERENCEPRIORITY
SYNCHRONOUSMACHINE_TYPE
TAPCHANGER_REGULATIONSCHEDULE
TAPCHANGER_TRANSFORMERWINDING
TAPCHANGER_HIGHSTEP
TAPCHANGER_LOWSTEP
TAPCHANGER_NEUTRALSTEP
TAPCHANGER_NORMALSTEP
TAPCHANGER_STEPPHASESHIFTINCREMENT
TAPCHANGER_STEPVOLTAGEINCREMENT
TAPCHANGER_TCULCONTROLMODE
TERMINAL_CONDUCTINGEQUIPMENT
TERMINAL_CONNECTIVITYNODE
TRANSFORMERWINDING_MEMBEROF_POWERTRANSFORMER
TRANSFORMERWINDING_B
TRANSFORMERWINDING_G
TRANSFORMERWINDING_R
TRANSFORMERWINDING_RATEDS
TRANSFORMERWINDING_RATEDU
TRANSFORMERWINDING_WINDINGTYPE
TRANSFORMERWINDING_X
VOLTAGELEVEL_BASEVOLTAGE
VOLTAGELEVEL_MEMBEROF_SUBSTATION
TYPE

## Sheet2
Substation.name
VoltageLevel.Basevoltage.nominalVoltage
Not APP
EquivelantShunt.g
EquivelantShunt.b
Region
SubGeoRegion
svVoltage.v
svVoltage.angle

## Sheet3
--
-- | ER/Studio | Data | Architect | 9.1 | SQL | Code | Generation
=-- | Project | : | PowerGridModel.dm1
--
-- | Date | Created | : | Tuesday, | March | 25, | 2014 | 14:27
-- | Target | DBMS | : | MySQL | 5.x
--
--
=-- | TABLE: | Area
--
CREATE | TABLE | Area(
| PowergridId | INT | NOT | NULL,
| AreaName | VARCHAR(50) | NOT | NULL,
| AreaId | INT,
| Isw | INT,
| Pdes | DOUBLE(18, | 0),
| Ptol | DOUBLE(18, | 0),
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (PowergridId, | AreaName)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Branch
--
CREATE | TABLE | Branch(
Branch | BranchId | INT | NOT | NULL,
Branch | PowergridId | INT | NOT | NULL,
Branch | FromBusNumber | INT,
Branch | ToBusNumber | INT,
Branch | IndexNum | INT | NOT | NULL,
Branch | Ckt | VARCHAR(2),
Branch | R | DOUBLE(18, | 0),
Branch | X | DOUBLE(18, | 0),
Branch | Rating | DOUBLE(18, | 0),
Branch | RateA | DOUBLE(18, | 0),
Branch | RateB | DOUBLE(18, | 0),
Branch | RateC | DOUBLE(18, | 0),
Branch | Status | INT,
Branch | P | DOUBLE(18, | 0),
Branch | Q | DOUBLE(18, | 0),
Branch | Mrid | CHAR(36) | NOT | NULL,
Branch | PRIMARY | KEY | (BranchId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Bus
--
CREATE | TABLE | Bus(
| BusNumber | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| SubstationId | INT,
| BusName | VARCHAR(50),
| BaseKV | DOUBLE(18, | 0),
| Code | INT,
| Pl | DOUBLE(18, | 0),
| Ql | DOUBLE(18, | 0),
| Gl | DOUBLE(18, | 0),
| Bl | DOUBLE(18, | 0),
| AreaId | INT,
| Va | DOUBLE(18, | 0),
| Vm | DOUBLE(18, | 0),
| ZoneId | INT,
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (BusNumber, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | BusTimestep
--
CREATE | TABLE | BusTimestep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| BusNumber | INT | NOT | NULL,
| Code | INT,
| Va | DOUBLE(18, | 0),
| Vm | DOUBLE(18, | 0),
| PRIMARY | KEY | (PowergridId, | TimeStep, | BusNumber)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ConnectivityNode
--
CREATE | TABLE | ConnectivityNode(
ConnectivityNode | Name | VARCHAR(50),
ConnectivityNode | Mrid | CHAR(36) | NOT | NULL
)ENGINE=MYISAM
;
--
=-- | TABLE: | Contingency
--
CREATE | TABLE | Contingency(
| ContingencyId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| Name | VARCHAR(50),
| PowerFlowStatus | INT,
| PRIMARY | KEY | (ContingencyId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ContingencyBranchOut
--
CREATE | TABLE | ContingencyBranchOut(
| BranchId | INT | NOT | NULL,
| ContingencyId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| PRIMARY | KEY | (BranchId, | ContingencyId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ContingencyBranchViolation
--
CREATE | TABLE | ContingencyBranchViolation(
| ContingencyId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| BranchId | INT | NOT | NULL,
| Voltage | DOUBLE(18, | 0),
| PRIMARY | KEY | (ContingencyId, | PowergridId, | BranchId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ContingencyBranchViolationTimeStep
--
CREATE | TABLE | ContingencyBranchViolationTimeStep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| ContingencyId | INT | NOT | NULL,
| BranchId | INT | NOT | NULL,
| Voltage | DOUBLE(18, | 0),
| PRIMARY | KEY | (PowergridId, | TimeStep, | ContingencyId, | BranchId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ContingencyBusViolation
--
CREATE | TABLE | ContingencyBusViolation(
| ContingencyId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| BusNumber | INT | NOT | NULL,
| Voltage | DOUBLE(18, | 0),
| PRIMARY | KEY | (ContingencyId, | PowergridId, | BusNumber)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ContingencyBusViolationTimeStep
--
CREATE | TABLE | ContingencyBusViolationTimeStep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| ContingencyId | INT | NOT | NULL,
| BusNumber | INT | NOT | NULL,
| Voltage | DOUBLE(18, | 0),
| PRIMARY | KEY | (PowergridId, | TimeStep, | ContingencyId, | BusNumber)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ContingencyTimeStep
--
CREATE | TABLE | ContingencyTimeStep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| ContingencyId | INT | NOT | NULL,
| PowerFlowStatus | INT,
| PRIMARY | KEY | (PowergridId, | TimeStep, | ContingencyId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | EquipmentContainer
--
CREATE | TABLE | EquipmentContainer(
| Mrid | CHAR(36) | NOT | NULL
)ENGINE=MYISAM
;
--
=-- | TABLE: | GlobalMrid
--
CREATE | TABLE | GlobalMrid(
| Mrid | CHAR(36) | NOT | NULL,
| DataType | VARCHAR(10),
| PowergridId | INT | NOT | NULL,
| PRIMARY | KEY | (Mrid)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Line
--
CREATE | TABLE | Line(
| LineId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| BranchId | INT,
| Gi | DOUBLE(18, | 0),
| Bi | DOUBLE(18, | 0),
| Gj | DOUBLE(18, | 0),
| Bj | DOUBLE(18, | 0),
| BCap | DOUBLE(18, | 0),
| PRIMARY | KEY | (LineId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | LineTimeStep
--
CREATE | TABLE | LineTimeStep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| LineId | INT | NOT | NULL,
| Status | INT,
| P | DOUBLE(18, | 0),
| Q | DOUBLE(18, | 0),
| PRIMARY | KEY | (PowergridId, | TimeStep, | LineId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | LoadElement
--
CREATE | TABLE | LoadElement(
| LoadId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| BusNumber | INT | NOT | NULL,
| LoadName | VARCHAR(50),
| PLoad | DOUBLE(18, | 0),
| QLoad | DOUBLE(18, | 0),
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (LoadId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | LoadTimeStep
--
CREATE | TABLE | LoadTimeStep(
| LoadId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| PLoad | DOUBLE(18, | 0),
| QLoad | DOUBLE(18, | 0),
| PRIMARY | KEY | (LoadId, | PowergridId, | TimeStep)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Machine
--
CREATE | TABLE | Machine(
| MachineId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| BusNumber | INT | NOT | NULL,
| MachineName | VARCHAR(50),
| PGen | DOUBLE(18, | 0),
| QGen | DOUBLE(18, | 0),
| MaxPGen | DOUBLE(18, | 0),
| MaxQGen | DOUBLE(18, | 0),
| MinPGen | DOUBLE(18, | 0),
| MinQGen | DOUBLE(18, | 0),
| Status | INT,
| IsSvc | INT,
| Vs | DOUBLE(18, | 0),
| Ireg | INT,
| Zr | DOUBLE(18, | 0),
| Zx | DOUBLE(18, | 0),
| Rt | DOUBLE(18, | 0),
| Xt | DOUBLE(18, | 0),
| Gtap | DOUBLE(18, | 0),
| RmPct | DOUBLE(18, | 0),
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (MachineId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | MachineTimeStep
--
CREATE | TABLE | MachineTimeStep(
| MachineId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| PGen | DOUBLE(18, | 0),
| QGen | DOUBLE(18, | 0),
| Status | INT,
| PRIMARY | KEY | (MachineId, | PowergridId, | TimeStep)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Measurement
--
CREATE | TABLE | Measurement(
| Mrid | CHAR(36) | NOT | NULL
)ENGINE=MYISAM
;
--
=-- | TABLE: | Powergrid
--
CREATE | TABLE | Powergrid(
| PowergridId | INT | NOT | NULL,
| Name | VARCHAR(50) | NOT | NULL,
| CoordinateSystem | VARCHAR(50),
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | PowergridTimeStep
--
CREATE | TABLE | PowergridTimeStep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| PRIMARY | KEY | (PowergridId, | TimeStep)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Substation
--
CREATE | TABLE | Substation(
| SubstationId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| AreaName | VARCHAR(50),
| ZoneName | VARCHAR(50),
| SubstationName | VARCHAR(50),
| Latitude | DOUBLE(18, | 0),
| Longitude | DOUBLE(18, | 0),
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (SubstationId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Switch
--
CREATE | TABLE | Switch(
| SubstationId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| Name | VARCHAR(50) | NOT | NULL,
| Status | INT,
| PRIMARY | KEY | (SubstationId, | PowergridId, | Name)
)ENGINE=MYISAM
;
--
=-- | TABLE: | SwitchedShunt
--
CREATE | TABLE | SwitchedShunt(
| SwitchedShuntId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| BusNumber | INT | NOT | NULL,
| SwitchedShuntName | VARCHAR(50),
| Status | INT,
| BShunt | DOUBLE(18, | 0),
| BInit | DOUBLE(18, | 0),
| ModSw | INT,
| VswHi | DOUBLE(18, | 0),
| VswLo | DOUBLE(18, | 0),
| SwRem | INT,
| N1 | DOUBLE(18, | 0),
| B1 | DOUBLE(18, | 0),
| N2 | DOUBLE(18, | 0),
| B2 | DOUBLE(18, | 0),
| N3 | DOUBLE(18, | 0),
| B3 | DOUBLE(18, | 0),
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (SwitchedShuntId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | SwitchedShuntTimeStep
--
CREATE | TABLE | SwitchedShuntTimeStep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| SwitchedShuntId | INT | NOT | NULL,
| Status | INT,
| PRIMARY | KEY | (PowergridId, | TimeStep, | SwitchedShuntId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Terminal
--
CREATE | TABLE | Terminal(
| TerminalId | INT | NOT | NULL,
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (TerminalId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | TerminalBranchlMap
--
CREATE | TABLE | TerminalBranchlMap(
| FromOrToTerminal | INT | NOT | NULL,
| BranchId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| TerminalId | INT | NOT | NULL,
| PRIMARY | KEY | (FromOrToTerminal, | BranchId, | PowergridId, | TerminalId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | TerminalSwitchMap
--
CREATE | TABLE | TerminalSwitchMap(
| TerminalId | INT | NOT | NULL,
| SubstationId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| Name | VARCHAR(50) | NOT | NULL,
| PRIMARY | KEY | (TerminalId, | SubstationId, | PowergridId, | Name)
)ENGINE=MYISAM
;
--
=-- | TABLE: | TerminalZBRMap
--
CREATE | TABLE | TerminalZBRMap(
| TerminalId | INT | NOT | NULL,
| Name | VARCHAR(50) | NOT | NULL,
| PRIMARY | KEY | (TerminalId, | Name)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Transformer
--
CREATE | TABLE | Transformer(
| TransformerId | INT | NOT | NULL,
| PowergridId | INT | NOT | NULL,
| BranchId | INT,
| Ratio | DOUBLE(18, | 0),
| Icont | INT,
| TapPosition | DOUBLE(18, | 0),
| Angle | DOUBLE(18, | 0),
| Rma | DOUBLE(18, | 0),
| Rmi | DOUBLE(18, | 0),
| Vma | DOUBLE(18, | 0),
| Table1 | VARCHAR(50),
| PRIMARY | KEY | (TransformerId, | PowergridId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | TransformerTimeStep
--
CREATE | TABLE | TransformerTimeStep(
| PowergridId | INT | NOT | NULL,
| TimeStep | DATETIME | NOT | NULL,
| TransformerId | INT | NOT | NULL,
| TapPosition | DOUBLE(18, | 0),
| Ratio | DOUBLE(18, | 0),
| Status | INT,
| P | DOUBLE(18, | 0),
| Q | DOUBLE(18, | 0),
| PRIMARY | KEY | (PowergridId, | TimeStep, | TransformerId)
)ENGINE=MYISAM
;
--
=-- | TABLE: | ZBR
--
CREATE | TABLE | ZBR(
| Name | VARCHAR(50) | NOT | NULL,
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (Name)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Zone
--
CREATE | TABLE | Zone(
| PowergridId | INT | NOT | NULL,
| ZoneName | VARCHAR(50) | NOT | NULL,
| Mrid | CHAR(36) | NOT | NULL,
| PRIMARY | KEY | (PowergridId, | ZoneName)
)ENGINE=MYISAM
;
--
=-- | TABLE: | Area
--
ALTER | TABLE | Area | ADD | CONSTRAINT | RefPowergrid157
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | Area | ADD | CONSTRAINT | RefGlobalMrid158
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | Branch
--
ALTER | TABLE | Branch | ADD | CONSTRAINT | RefPowergrid159
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | Branch | ADD | CONSTRAINT | RefGlobalMrid160
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | Bus
--
ALTER | TABLE | Bus | ADD | CONSTRAINT | RefSubstation161
| FOREIGN | KEY | (PowergridId, | SubstationId)
| REFERENCES | Substation(SubstationId, | PowergridId)
;
ALTER | TABLE | Bus | ADD | CONSTRAINT | RefPowergrid162
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | Bus | ADD | CONSTRAINT | RefGlobalMrid163
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | BusTimestep
--
ALTER | TABLE | BusTimestep | ADD | CONSTRAINT | RefBus164
| FOREIGN | KEY | (PowergridId, | BusNumber)
| REFERENCES | Bus(BusNumber, | PowergridId)
;
ALTER | TABLE | BusTimestep | ADD | CONSTRAINT | RefPowergridTimeStep165
| FOREIGN | KEY | (PowergridId, | TimeStep)
| REFERENCES | PowergridTimeStep(PowergridId, | TimeStep)
;
--
=-- | TABLE: | ConnectivityNode
--
ALTER | TABLE | ConnectivityNode | ADD | CONSTRAINT | RefGlobalMrid218
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | Contingency
--
ALTER | TABLE | Contingency | ADD | CONSTRAINT | RefPowergrid166
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
--
=-- | TABLE: | ContingencyBranchOut
--
ALTER | TABLE | ContingencyBranchOut | ADD | CONSTRAINT | RefContingency167
| FOREIGN | KEY | (ContingencyId, | PowergridId)
| REFERENCES | Contingency(ContingencyId, | PowergridId)
;
ALTER | TABLE | ContingencyBranchOut | ADD | CONSTRAINT | RefBranch168
| FOREIGN | KEY | (BranchId, | PowergridId)
| REFERENCES | Branch(BranchId, | PowergridId)
;
--
=-- | TABLE: | ContingencyBranchViolation
--
ALTER | TABLE | ContingencyBranchViolation | ADD | CONSTRAINT | RefContingency170
| FOREIGN | KEY | (ContingencyId, | PowergridId)
| REFERENCES | Contingency(ContingencyId, | PowergridId)
;
ALTER | TABLE | ContingencyBranchViolation | ADD | CONSTRAINT | RefBranch169
| FOREIGN | KEY | (PowergridId, | BranchId)
| REFERENCES | Branch(BranchId, | PowergridId)
;
--
=-- | TABLE: | ContingencyBranchViolationTimeStep
--
ALTER | TABLE | ContingencyBranchViolationTimeStep | ADD | CONSTRAINT | RefBranch171
| FOREIGN | KEY | (PowergridId, | BranchId)
| REFERENCES | Branch(BranchId, | PowergridId)
;
ALTER | TABLE | ContingencyBranchViolationTimeStep | ADD | CONSTRAINT | RefContingencyTimeStep172
| FOREIGN | KEY | (PowergridId, | TimeStep, | ContingencyId)
| REFERENCES | ContingencyTimeStep(PowergridId, | TimeStep, | ContingencyId)
;
--
=-- | TABLE: | ContingencyBusViolation
--
ALTER | TABLE | ContingencyBusViolation | ADD | CONSTRAINT | RefBus173
| FOREIGN | KEY | (PowergridId, | BusNumber)
| REFERENCES | Bus(BusNumber, | PowergridId)
;
ALTER | TABLE | ContingencyBusViolation | ADD | CONSTRAINT | RefContingency174
| FOREIGN | KEY | (ContingencyId, | PowergridId)
| REFERENCES | Contingency(ContingencyId, | PowergridId)
;
--
=-- | TABLE: | ContingencyBusViolationTimeStep
--
ALTER | TABLE | ContingencyBusViolationTimeStep | ADD | CONSTRAINT | RefBus175
| FOREIGN | KEY | (PowergridId, | BusNumber)
| REFERENCES | Bus(BusNumber, | PowergridId)
;
ALTER | TABLE | ContingencyBusViolationTimeStep | ADD | CONSTRAINT | RefContingencyTimeStep176
| FOREIGN | KEY | (PowergridId, | TimeStep, | ContingencyId)
| REFERENCES | ContingencyTimeStep(PowergridId, | TimeStep, | ContingencyId)
;
--
=-- | TABLE: | ContingencyTimeStep
--
ALTER | TABLE | ContingencyTimeStep | ADD | CONSTRAINT | RefContingency177
| FOREIGN | KEY | (PowergridId, | ContingencyId)
| REFERENCES | Contingency(ContingencyId, | PowergridId)
;
ALTER | TABLE | ContingencyTimeStep | ADD | CONSTRAINT | RefPowergridTimeStep178
| FOREIGN | KEY | (PowergridId, | TimeStep)
| REFERENCES | PowergridTimeStep(PowergridId, | TimeStep)
;
--
=-- | TABLE: | EquipmentContainer
--
ALTER | TABLE | EquipmentContainer | ADD | CONSTRAINT | RefGlobalMrid219
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | GlobalMrid
--
ALTER | TABLE | GlobalMrid | ADD | CONSTRAINT | RefPowergrid179
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
--
=-- | TABLE: | Line
--
ALTER | TABLE | Line | ADD | CONSTRAINT | RefBranch180
| FOREIGN | KEY | (PowergridId, | BranchId)
| REFERENCES | Branch(BranchId, | PowergridId)
;
--
=-- | TABLE: | LineTimeStep
--
ALTER | TABLE | LineTimeStep | ADD | CONSTRAINT | RefLine181
| FOREIGN | KEY | (PowergridId, | LineId)
| REFERENCES | Line(LineId, | PowergridId)
;
ALTER | TABLE | LineTimeStep | ADD | CONSTRAINT | RefPowergridTimeStep182
| FOREIGN | KEY | (PowergridId, | TimeStep)
| REFERENCES | PowergridTimeStep(PowergridId, | TimeStep)
;
--
=-- | TABLE: | LoadElement
--
ALTER | TABLE | LoadElement | ADD | CONSTRAINT | RefPowergrid223
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | LoadElement | ADD | CONSTRAINT | RefBus224
| FOREIGN | KEY | (PowergridId, | BusNumber)
| REFERENCES | Bus(BusNumber, | PowergridId)
;
ALTER | TABLE | LoadElement | ADD | CONSTRAINT | RefGlobalMrid225
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | LoadTimeStep
--
ALTER | TABLE | LoadTimeStep | ADD | CONSTRAINT | RefPowergridTimeStep186
| FOREIGN | KEY | (PowergridId, | TimeStep)
| REFERENCES | PowergridTimeStep(PowergridId, | TimeStep)
;
ALTER | TABLE | LoadTimeStep | ADD | CONSTRAINT | RefLoadElement226
| FOREIGN | KEY | (LoadId, | PowergridId)
| REFERENCES | LoadElement(LoadId, | PowergridId)
;
--
=-- | TABLE: | Machine
--
ALTER | TABLE | Machine | ADD | CONSTRAINT | RefPowergrid188
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | Machine | ADD | CONSTRAINT | RefBus189
| FOREIGN | KEY | (PowergridId, | BusNumber)
| REFERENCES | Bus(BusNumber, | PowergridId)
;
ALTER | TABLE | Machine | ADD | CONSTRAINT | RefGlobalMrid190
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | MachineTimeStep
--
ALTER | TABLE | MachineTimeStep | ADD | CONSTRAINT | RefPowergridTimeStep191
| FOREIGN | KEY | (PowergridId, | TimeStep)
| REFERENCES | PowergridTimeStep(PowergridId, | TimeStep)
;
ALTER | TABLE | MachineTimeStep | ADD | CONSTRAINT | RefMachine192
| FOREIGN | KEY | (MachineId, | PowergridId)
| REFERENCES | Machine(MachineId, | PowergridId)
;
--
=-- | TABLE: | Measurement
--
ALTER | TABLE | Measurement | ADD | CONSTRAINT | RefGlobalMrid220
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | Powergrid
--
ALTER | TABLE | Powergrid | ADD | CONSTRAINT | RefGlobalMrid221
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | PowergridTimeStep
--
ALTER | TABLE | PowergridTimeStep | ADD | CONSTRAINT | RefPowergrid193
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
--
=-- | TABLE: | Substation
--
ALTER | TABLE | Substation | ADD | CONSTRAINT | RefArea194
| FOREIGN | KEY | (PowergridId, | AreaName)
| REFERENCES | Area(PowergridId, | AreaName)
;
ALTER | TABLE | Substation | ADD | CONSTRAINT | RefZone195
| FOREIGN | KEY | (PowergridId, | ZoneName)
| REFERENCES | Zone(PowergridId, | ZoneName)
;
ALTER | TABLE | Substation | ADD | CONSTRAINT | RefPowergrid196
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | Substation | ADD | CONSTRAINT | RefGlobalMrid212
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | Switch
--
ALTER | TABLE | Switch | ADD | CONSTRAINT | RefSubstation197
| FOREIGN | KEY | (SubstationId, | PowergridId)
| REFERENCES | Substation(SubstationId, | PowergridId)
;
--
=-- | TABLE: | SwitchedShunt
--
ALTER | TABLE | SwitchedShunt | ADD | CONSTRAINT | RefPowergrid198
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | SwitchedShunt | ADD | CONSTRAINT | RefBus199
| FOREIGN | KEY | (PowergridId, | BusNumber)
| REFERENCES | Bus(BusNumber, | PowergridId)
;
ALTER | TABLE | SwitchedShunt | ADD | CONSTRAINT | RefGlobalMrid200
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | SwitchedShuntTimeStep
--
ALTER | TABLE | SwitchedShuntTimeStep | ADD | CONSTRAINT | RefPowergridTimeStep201
| FOREIGN | KEY | (PowergridId, | TimeStep)
| REFERENCES | PowergridTimeStep(PowergridId, | TimeStep)
;
ALTER | TABLE | SwitchedShuntTimeStep | ADD | CONSTRAINT | RefSwitchedShunt202
| FOREIGN | KEY | (PowergridId, | SwitchedShuntId)
| REFERENCES | SwitchedShunt(SwitchedShuntId, | PowergridId)
;
--
=-- | TABLE: | Terminal
--
ALTER | TABLE | Terminal | ADD | CONSTRAINT | RefGlobalMrid203
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | TerminalBranchlMap
--
ALTER | TABLE | TerminalBranchlMap | ADD | CONSTRAINT | RefBranch204
| FOREIGN | KEY | (BranchId, | PowergridId)
| REFERENCES | Branch(BranchId, | PowergridId)
;
ALTER | TABLE | TerminalBranchlMap | ADD | CONSTRAINT | RefTerminal129
| FOREIGN | KEY | (TerminalId)
| REFERENCES | Terminal(TerminalId)
;
--
=-- | TABLE: | TerminalSwitchMap
--
ALTER | TABLE | TerminalSwitchMap | ADD | CONSTRAINT | RefSwitch205
| FOREIGN | KEY | (SubstationId, | PowergridId, | Name)
| REFERENCES | Switch(SubstationId, | PowergridId, | Name)
;
ALTER | TABLE | TerminalSwitchMap | ADD | CONSTRAINT | RefTerminal132
| FOREIGN | KEY | (TerminalId)
| REFERENCES | Terminal(TerminalId)
;
--
=-- | TABLE: | TerminalZBRMap
--
ALTER | TABLE | TerminalZBRMap | ADD | CONSTRAINT | RefZBR133
| FOREIGN | KEY | (Name)
| REFERENCES | ZBR(Name)
;
ALTER | TABLE | TerminalZBRMap | ADD | CONSTRAINT | RefTerminal134
| FOREIGN | KEY | (TerminalId)
| REFERENCES | Terminal(TerminalId)
;
--
=-- | TABLE: | Transformer
--
ALTER | TABLE | Transformer | ADD | CONSTRAINT | RefBranch206
| FOREIGN | KEY | (PowergridId, | BranchId)
| REFERENCES | Branch(BranchId, | PowergridId)
;
--
=-- | TABLE: | TransformerTimeStep
--
ALTER | TABLE | TransformerTimeStep | ADD | CONSTRAINT | RefTransformer207
| FOREIGN | KEY | (PowergridId, | TransformerId)
| REFERENCES | Transformer(TransformerId, | PowergridId)
;
ALTER | TABLE | TransformerTimeStep | ADD | CONSTRAINT | RefPowergridTimeStep208
| FOREIGN | KEY | (PowergridId, | TimeStep)
| REFERENCES | PowergridTimeStep(PowergridId, | TimeStep)
;
--
=-- | TABLE: | ZBR
--
ALTER | TABLE | ZBR | ADD | CONSTRAINT | RefGlobalMrid222
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;
--
=-- | TABLE: | Zone
--
ALTER | TABLE | Zone | ADD | CONSTRAINT | RefPowergrid209
| FOREIGN | KEY | (PowergridId)
| REFERENCES | Powergrid(PowergridId)
;
ALTER | TABLE | Zone | ADD | CONSTRAINT | RefGlobalMrid210
| FOREIGN | KEY | (Mrid)
| REFERENCES | GlobalMrid(Mrid)
;